| Project Name: | Project Number: |  |
| --- | --- | --- |
| Contractor: | Date: |  |

| Equipment: |  |  |  |
| --- | --- | --- | --- |
| Tag/instrument Number: |  |  |  |
| Associated PLC: |  |  |  |
| Area: |  |  |  |
| Service |  |  |  |
| Constant Speed Motor |  | Valve – Modulating |  |
| Variable Frequency Drive |  | Generator/ATS |  |
| Valve – Discrete |  | HVAC |  |
| Other |  |  |  |
| PLC I/O |  |  |  |
| Start / Stop |  | Feedback (4-20mA) |  |
| Control Mode |  | Setpoint (4-20 mA) |  |
| Status |  | Others |  |
| General Alarm |  |  |  |
| Interlocks – Hardwire |  |  |  |
| Motor Protection Relay |  | Field Instrumentation #1 |  |
| Motor Overload |  | Field Instrumentation #2 |  |
| Pump Protection Relay |  | Field Instrumentation #3 |  |
| Others |  | Others |  |
| Interlocks – Software |  |  |  |
| Fail to Start / Open |  | Uncommanded Stop / Open |  |
| Uncommanded Start / Open |  | Hardware Alarm |  |
| Tags / Terminal / Drawings |  |  |  |
| MCC / Local Panel |  | PLC Local Panel |  |
| Tags |  | Tags |  |
| Terminals |  | Terminals |  |
| Drawings |  | Drawings |  |
| PLC Cards |  | As Constructed |  |
| Tags |  | Tags |  |
| Terminals |  | Terminals |  |
| Drawings |  | Drawings |  |
| Verification |  |  |  |
| Contractor |  |  |  |
| Consultant |  |  |  |
| Region |  |  |  |
| Date |  |  |  |
| Comments: |  |  |  |

| Inspection Result | Passed Installation and Start-up checkout. Equipment certified ready for service |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- |

| Contractor |  | Supplier |
| --- | --- | --- |
| Date |  | Date |
| Consultant |  | Facility Operation Supervisor |
| Date |  | Date |