| Project Name: | Project Number: |  |
| --- | --- | --- |
| Contractor: | Date: |  |

| EQUIPMENT: |  | DATE INSTALLATION COMPLETE: |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MAKE: | MODEL #: |  |  |  | SERIAL #: |
| PRE-START-UP | CHECKED BY |  | DATE | REMARKS |  |
| Installation/Mounting Sensor/Transmitter |  |  |  |  |  |
| Wiring/Conduit Termination and Seals |  |  |  |  |  |
| Check Fuse Ratings (Supply and Internal) |  |  |  |  |  |
| Tagging/Nameplate |  |  |  |  |  |
| Compliance Section 16 |  |  |  |  |  |
| Test (Ground Loop, Continuity, Installation) |  |  |  |  |  |
| Power Supply |  |  |  |  |  |
| Check Instrument Air/Adjust Filter/Regulator |  |  |  |  |  |
| Check Temp. Control (Internal/Heat Tracing) |  |  |  |  |  |
| Configure Calibration |  |  |  |  |  |
| Tailback lights |  |  |  |  |  |
| START-UP Verify Operation Under Max Process Conditions |  |  |  |  |  |
| Correct Quantities of Expandable Material |  |  |  |  |  |
| * Indicates (N/A) if not applicable |  |  |  |  |  |
| Comments: |  |  |  |  |  |

| Inspection Result | Passed Installation and Start-up checkout. Equipment certified ready for service |  |  |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contractor |  |  |  | Supplier |  |  |
| Date |  |  |  | Date |  |  |
| Consultant |  |  |  | Region/Operator |  |  |
| Date |  |  |  | Date |  |  |