| Project Name: | Project Number: |  |
| --- | --- | --- |
| Contractor: | Date: |  |

| EQUIPMENT: |  |  | DATE INSTALLATION COMPLETE: |  |  |
| --- | --- | --- | --- | --- | --- |
| MAKE: |  | MODEL #: |  |  | SERIAL #: |
| PRE-START-UP | CHECKED BY (INITIAL) |  | DATE | REMARKS |  |
| Installation and Mounting |  |  |  |  |  |
| Location to Equip. (Electrical Interference) |  |  |  |  |  |
| Wiring/Conduit Termination and Scales |  |  |  |  |  |
| Tagging Nameplates |  |  |  |  |  |
| Compliance Section 15 |  |  |  |  |  |
| Test (Ground Loop, Continuity, Installation) |  |  |  |  |  |
| Check Fuse/Breaker Ratings |  |  |  |  |  |
| Compliance Section 16 |  |  |  |  |  |
| Communications Test: |  |  |  |  |  |
| Peer Link |  |  |  |  |  |
| Remote 1/0 |  |  |  |  |  |
| PLC – PC |  |  |  |  |  |
| Cable Integrity |  |  |  |  |  |
| Termination Connectors |  |  |  |  |  |
| Telephone/Link Modem Rack/PLC Switch Settings |  |  |  |  |  |
| Computer Installation |  |  |  |  |  |
| Ancillary Equipment Installation |  |  |  |  |  |
| * Indicates (N/A) if not applicable |  |  |  |  |  |

| Inspection Result | Passed Installation and Start-up checkout. Equipment certified ready for service |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- |

| Contractor |  | Supplier |
| --- | --- | --- |
| Date |  | Date |
| Consultant |  | Region/Operator |
| Date |  | Date |