| Project Name: | Project Number: |  |
| --- | --- | --- |
| Contractor: | Date: |  |

| EQUIPMENT: |  |  | DATE INSTALLATION COMPLETE: |  |  |
| --- | --- | --- | --- | --- | --- |
| MAKE: | MODEL #: |  |  | SERIAL #: |  |
| BODY |  | CHECKED BY (INITIAL) | DATE |  | REMARKS |
| Manufacturer/Model # |  |  |  |  |  |
| VALVE Identification |  |  |  |  |  |
| Type/Body Size |  |  |  |  |  |
| Port Size/End Connection |  |  |  |  |  |
| Trim Form |  |  |  |  |  |
| Packing/Stem Seal Adjustment |  |  |  |  |  |
| Lubrication |  |  |  |  |  |
| Exterior Finish |  |  |  |  |  |
| ACTUATOR – Manufacturer/ Model # and Size |  |  |  |  |  |
| Type |  |  |  |  |  |
| Open At/Close At |  |  |  |  |  |
| Fail Position |  |  |  |  |  |
| Handwheel/Manual Override Position Indicator |  |  |  |  |  |
| Open/Closed Position Stop Adjustment |  |  |  |  |  |
| POSITIONER - Manufacturer/ Model # |  |  |  |  |  |
| All Assess. Installed and Functioning Correctly (Filter/Regulator, Gauge, Bypass, etc.) |  |  |  |  |  |
| Input Signal/Output Signal |  |  |  |  |  |
| Calibration |  |  |  |  |  |
| OTHER – Positioning Indicating Switch Adjustment |  |  |  |  |  |
| Feedback Potentiometer Calibration |  |  |  |  |  |
| Devices Requiring MCCR Canadian Reg# (Identify with #) |  |  |  |  |  |
| Operation & Maintenance Manuals Received |  |  |  |  |  |
| PERFORMANCE – Manufacturer’s Rep in Attendance |  |  |  |  |  |
| Maximum Flow |  |  |  |  |  |
| Value % Open @ Max Flow |  |  |  |  |  |
| Inlet Pressure @ Max Flow |  |  |  |  |  |
| Pressure Drop @ Max Flow |  |  |  |  |  |
| Minimum Flow |  |  |  |  |  |
| Valve % Open @ Min Flow |  |  |  |  |  |
| Inlet Pressure @ Min Flow |  |  |  |  |  |
| Pressure Drop @ Min Flow |  |  |  |  |  |
| Relief Pressure (Safety Valves) |  |  |  |  |  |
| Reseating Pressure (Safety Valves) |  |  |  |  |  |
| Manufacturer’s Letter of Confirmation of Equipment Proper Installation Received |  |  |  |  |  |
| *Indicates (N/A) if not applicable |  |  |  |  |  |
| COMMENTS: |  |  |  |  |  |

| Inspection Result | Passed Installation and Start-up checkout. Equipment certified ready for service |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- |

| Contractor |  | Supplier |
| --- | --- | --- |
| Date |  | Date |
| Consultant |  | Region/Operator |
| Date |  | Date |