| Project Name: | Project Number: |  |
| --- | --- | --- |
| Contractor: | Date: |  |

| EQUIPMENT: |  |  |  | DATE INSTALLATION COMPLETE: |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| MAKE: | MODEL #: |  |  |  | SERIAL #: |  |
| PRE-START-UP |  | CHECKED BY (INITIAL) |  | DATE |  | REMARKS |
| Wiring/Conduit Termination |  |  |  |  |  |  |
| Tagging Nameplates |  |  |  |  |  |  |
| Fuse/Overload Ratings Checked |  |  |  |  |  |  |
| Drive Properly Grounded |  |  |  |  |  |  |
| Signal and Input/Output Power Wiring Run in Separate Conduits |  |  |  |  |  |  |
| Direction of Motor Rotation |  |  |  |  |  |  |
| Input Voltage |  |  |  |  |  |  |
| Speed Control Signal |  |  |  |  |  |  |
| Output Voltage |  |  |  |  |  |  |
| Horsepower Rating |  |  |  |  |  |  |
| Max Speed Setting |  |  |  |  |  |  |
| Min Speed Setting |  |  |  |  |  |  |
| Acceleration Rate Setting |  |  |  |  |  |  |
| Deceleration Rate Setting |  |  |  |  |  |  |
| Operation and Maintenance Manuals Submitted |  |  |  |  |  |  |
| Spare Parts Rec’d |  |  |  |  |  |  |
| START-UP – (Manufacturer’s Rep. in Attendance) |  |  |  |  |  |  |
| Performance per Spec/Data Sheet (Identify) |  |  |  |  |  |  |
| Manual Start/Stop |  |  |  |  |  |  |
| Auto Start/Stop |  |  |  |  |  |  |
| Manual Speed Selection |  |  |  |  |  |  |
| Auto Speed Selection |  |  |  |  |  |  |
| Drive Run/Fault Indication |  |  |  |  |  |  |
| Duration of Initial Run (min. 1 hour) |  |  |  |  |  |  |
| Manufacturer’s Letter of Confirmation of Equipment Proper Installation Received |  |  |  |  |  |  |
| *Indicates (N/A) if not applicable |  |  |  |  |  |  |

| SPEED | MOTOR VOLTAGE | MOTOR CURRENT | MOTOR FREQUENCY |
| --- | --- | --- | --- |
| Comments: |  |  |  |

| Inspection Result | Passed Installation and Start-up checkout. Equipment certified ready for service |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- |

| Contractor |  | Supplier |
| --- | --- | --- |
| Date |  | Date |
| Consultant |  | Region/Operator |
| Date |  | Date |