| Project Name: | Project Number: |  |
| --- | --- | --- |
| Contractor: | Date: |  |

| Equipment |  |  |  |
| --- | --- | --- | --- |
| Identification Tag No. |  |  |  |
| Manufacturer |  |  |  |
| Model |  |  |  |
| Serial Number |  |  |  |
| Rating hp/kw |  | RPM |  |
| Amps |  | Supply Voltage |  |
| Phase |  | Wire |  |
| Insulation Design |  | Insulation Class |  |
| Temperature Raise |  | Enclosure Type |  |
| Approvals CSA, NEMA, etc. |  | Date Received |  |
| Others |  | Date Started |  |

|  | INSTALLATION | A | B | C | D |
| --- | --- | --- | --- | --- | --- |
| 1 | Foundation or Base |  |  |  |  |
| 2 | Mounting Bolts |  |  |  |  |
| 3 | Couplings, belts, chains |  |  |  |  |
| 4 | Shaft Alignment |  |  |  |  |
| 5 | Gaskets |  |  |  |  |
| 6 | Motor Megger |  |  |  |  |
| 7 | Motor Rotation |  |  |  |  |
| 8 | Supply/Starter Fuse Size |  |  |  |  |
| 9 | Supply/Starter O/L Size |  |  |  |  |
| 10 | Interlock Checked |  |  |  |  |
| 11 | Grounding Installation |  |  |  |  |
| 12 | Cable or Conduit Installation |  |  |  |  |

|  | START UP OF EQUIPMENT | A | B | C | D |
| --- | --- | --- | --- | --- | --- |
| 1 | General Condition |  |  |  |  |
| 2 | Bearing Temperature |  |  |  |  |
| 3 | Seals, Packing |  |  |  |  |
| 4 | Valves, Check valves |  |  |  |  |
| 5 | Connecting Rods |  |  |  |  |
| 6 | Couplings |  |  |  |  |
|  | Safety Hazards |  |  |  |  |
| 7 | Lubrication |  |  |  |  |
| 8 | Seal Lubrication |  |  |  |  |
| 9 | Shafting, Universal |  |  |  |  |
| 10 | Clutch |  |  |  |  |
| 11 | Gear Drives |  |  |  |  |
| 12 | Control – Local Run |  |  |  |  |
| 13 | Control – Remote Run |  |  |  |  |
| 14 | Painting |  |  |  |  |
|  | REMARKS |  |  |  |  |

Legend:

(A) Inspected and found acceptable	(B) Inspected, found defective but corrected

(C) Inspected, found defective and not corrected	(D) Not inspected

| Inspection Result | Passed Installation and Start-up checkout. Equipment certified ready for service |  | Failed – Contractor to schedule equipment re-inspection |  |
| --- | --- | --- | --- | --- |

| Contractor |  | Supplier |
| --- | --- | --- |
| Date |  | Date |
| Consultant |  | Region/Operator |
| Date |  | Date |