## Sheet1
POST CONNECTION CHLORINE RESIDULALS
Date: |  | Project Type:
Location: |  | Project #:
*Residuals at Source Prior To Flushing | Total Cl1: | Free Cl2 :
*Refer to source residuals from CHLORINATION RECORD FORM for above numbers
**Post Connection Chlorine Residuals (mg/L): | Total Cl1: | Free Cl2 :
**To be Supplied by Water Distribution
Microbiological Samples
Date / Time Date / Time
SERVICE REQUEST #
Date and service request # (SR)
Appurtenance Type (Solid Sleeve, etc.)
Type of work (e.g. Scheduled interruption, broken main, pulled WS) |  |  | Reg. Diary number- Page number-
Additional Details:
Air Gap Maintained Throughout Activity:
Positive Pressure Maintained:
Watermain/water system contamination evident or suspected:
Parts Disinfected per AWWA C-651 or MOECC WM Disinfection Procedure:
Service Disruption:
Temporary Hook-Up Provided:
Post Connection Flushing :
Watermain Diameter (mm): |  | Watermain Material:
I acknowledge that the water system for the above project was cleaned, disinfected and sampled as per regulatory requirements; AWWA Standard C-651, the MOECC Watermain Disinfection Procedure and the Procedure for Disinfection of Drinking Water in Ontario as adopted by reference to O. Reg. 170/03 under the Safe Drinking Water Act 2002.
Halton Inspector: |  | Date:
Note: This form is to be scanned and placed into the corresponding Project file folder
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Not Required
Construction
Live