**Appendix 9J – Power Monitor Checklist**

**Power Monitor Driver Device Name: i.e. PRM1**

**Date:** DD/MM/YY\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

| IO | Pass / Fail |
| --- | --- |
| Is Tagname Correct |  |
| Is IP Address Correct |  |
| Is Gateway Correct |  |
| Is Subnet Mask Correct |  |
| Line 1 Current |  |
| Line 2 Current |  |
| Line 3 Current |  |
| Line 4 Current |  |
| 3 Phase Average Current |  |
| L1-L2 Voltage |  |
| L2-L3 Voltage |  |
| L3-L1 Voltage |  |
| 3 Phase Average L-L Voltage |  |
| L1-N Voltage |  |
| L2-N Voltage |  |
| L3-N Voltage |  |
| 3 Phase Average L-N Voltage |  |
| Last Cycle Frequency |  |
| Line 1 Power |  |
| Line 2 Power |  |
| Line 3 Power |  |
| Total Real Power |  |
| Total Reactive Power |  |
| Power Factor |  |
| Net Real Energy |  |
| Net Reactive Energy |  |
| Demand Current |  |
| Demand Power |  |
| Are all Units Correct |  |
| Total Energy Today |  |
| Total Energy Yesterday |  |

| Deficiency | Noted BY Initials (Print) | Approved BY (ROH Employee) | Date Fixed  DD/MM/YY |
| --- | --- | --- | --- |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

Approver Initials: \_\_\_\_\_\_\_\_\_\_\_ Date: DD/MM/YY\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_